# Project Description

**Title:** Current part, Hubbel GFRST15W is discontinued.

**Description:** Current part, Hubbel GFRST15W is discontinued, Replace part with the Hubbel

GFR15W.

# Product Family and Models Affected

**Affected Product Family:** HPLRF, Chromatography Units

**Affected Product Models:**

|  |  |  |  |
| --- | --- | --- | --- |
| TSX2305CA | TSX3005CA | TSX4505CA | TSX5005CA |
| TSX2305CD | TSX3005CD | TSX4505CD | TSX5005CD |
| TSX2305CY | TSX3005CV | TSX4505CY | TSX5005CY |
| TSX2305CZ | TSX3005CY | TSX4505CZ | TSX5005CZ |
| CH2305CA | CH3005CA | CH4505CA | CH5005CA |
| TSG2305CA | TSG3005CA | TSG4505CA | TSG5005CA |

# Country(s)/Region(s) in scope

North America, EMEA, LATAM

# Regulatory status of the product

|  |  |  |
| --- | --- | --- |
| S. No | Description | Applicability |
| 1.0 | Medical: | Yes |
| 1.1 | Countries of Registration: | South Africa (SAHPRA) |
| 1.2 | List the classification by country | NA |
| 2.0 | Non-Medical | Yes |
| 3.0 | Certifications/markings on the units: | UL, CE, cUL |

# Regulatory Review Details

* **List Regulations/Directives/Standards affected by this change (if any)**
  + **Regulations / Directives Applicable**
    - There are no Regulations and Directives affected due to this change.